## Slide 1: Building Code Requirements for Structural Concrete (ACI 318M-11) Analysis and Design for Flexure, Shear, Torsion, and Compression plus Bending
David Darwin
Vietnam Institute for Building Science and Technology (IBST)
Hanoi and Ho Chi Minh City
December 12-16, 2011

## Slide 2: This afternoon
Analysis and design for
Flexure
Shear
Torsion
Compression plus bending
Notes: <number>

## Slide 3: Material properties
Concrete
higher strengths used for columns
Reinforcing steel

## Slide 4
Reinforcing bars – 11 sizes:
Size Actual diameter Size Actual diameter
No. 10 9.5 mm No. 43 43.0 mm
No. 13 12.7 mm No. 57 57.3 mm
No. 16 15.9 mm
No. 19 19.1 mm
No. 22 22.2 mm
No. 25 25.4 mm
No. 29 28.7 mm
No. 32 32.2 mm
No. 36 35.8 mm

## Slide 5: Flexure
Mn  Mu

## Slide 8: At working loads
Cracked transformed section
Notes: <number>

## Slide 9: At ultimate load

## Slide 11: Equivalent stress block

## Slide 12: Concrete stress-block parameters

## Slide 13: Stress-block parameter 1

## Slide 14: Flexural strength
= 0.003

## Slide 15: Reinforcement ratio
Tension reinforcement
Compression reinforcement

## Slide 16: Balanced condition and balanced reinforcement ratio, ϵs = ϵy
Steel yields just
as concrete crushes

## Slide 17: Reinforcement ratio corresponding to specified values of steel strain ϵs = ϵt

or conservatively

## Slide 18: Maximum value of , ϵs = 0.004

## Slide 19: Maximum  for a tension-controlled member, ϵs = 0.005
This is the effective maximum value of 

## Slide 21: Flexural strength

## Slide 22: Minimum reinforcement
To ensure that the flexural strength of a reinforced concrete beam is higher than the cracking moment:
For statically determinate members with flange in tension, replace bw by smaller of 2bw or flange width b

## Slide 23
Exceptions to minimum reinforcement requirements:
As (provided)  As (required)
Slabs and footings  As,min = temperature and shrinkage reinforcement

## Slide 24: Temperature and shrinkage reinforcement

## Slide 25: Cover and spacing

## Slide 26: Doubly reinforced beams [ > 0.005]

## Slide 27: Doubly reinforced beams
Nominal moment capacity for

## Slide 28: Doubly reinforced beams
Nominal moment capacity for

## Slide 29: Doubly reinforced beams
Minimum reinforcement ratio so that
compression steel yields:
If  < ,
c must be calculated (quadratic equation):

## Slide 30: Doubly reinforced beams tension-controlled sections

## Slide 31: T beams

## Slide 32: Effective flange width b
Symmetric T beam:
b  1/4 span length
 bw + 16hf
 bw + ½  clear distances to next beams
Slab on only one side:
b  bw + 1/12 span length
 bw + 6hf
 bw + ½ clear distance to next beam
Isolated T beam:
hf  ½ bw; b  4bw

## Slide 33: Consider two cases based on neutral axis location
Analyze as Analyze as
rectangular beam T beam

## Slide 34: In practice, use depth of stress block a

## Slide 36: Nominal capacity
Limits on reinforcement for tension-controlled section

## Slide 37: Flexural crack control

## Slide 38: Flexural crack control
Maximum spacing s of
reinforcement closest
tension face
fs by analysis or = 2/3 fy

## Slide 39: Flexural crack control
Distribution of reinforcement when flanges of T beams are in tension:
1. Distribute reinforcement over smaller of effective flange width or width equal to 1/10 span
2. If the effective flange width exceeds 1/10 span, place some longitudinal reinforcement in outer portions of flange

## Slide 40: Skin reinforcement required when h > 900 mm

## Slide 41: Shear
Vn  Vu

## Slide 42: Diagonal tensile stress in concrete
Function of both bending and shear stresses

## Slide 45: Shear stress at cracking taken as shear strength

## Slide 46: Behavior of diagonally cracked beam

## Slide 47: Beams with web reinforcement

## Slide 48: Behavior of beams with web reinforcement

## Slide 49: Contribution of stirrups

## Slide 50: Total shear capacity
with
Vc may be taken conservatively as

## Slide 51: Inclined stirrups

## Slide 52: ACI provisions – summary [Note ]

## Slide 53: Lightweight concrete factor 
= 1.0 for normalweight concrete
 = 0.85 for sand-lightweight concrete
 = 0.75 for all-lightweight concrete

## Slide 54: Minimum web reinforcement
Required when Vu > 0.5Vc
except for footings and solid slabs; certain hollow-core slabs; concrete joists; beams with h < 250 mm; beams integral with slabs with h < 600 mm, 2.5hf, and 0.5bw; beams made of steel fiber-reinforced concrete with  40 MPa, h < 600 mm, and

## Slide 56: Maximum stirrup spacing s
s  d/2 (0.75h for prestressed concrete)
 600 mm
These values are reduced by 50% where

## Slide 57: Critical section
Maximum Vu for sections closer than d (h/2 for prestressed concrete) from the face of a support may be taken as the value at d (or h/2) provided that three conditions are met:
Support reaction introduces compression into the end region
Loads applied at or near top of member
No concentrated load placed between critical section at d (or h/2) and the face of the support

## Slide 59: Stirrup design

## Slide 60: Prestressed concrete
Vcw
Vci

## Slide 61: Vc for prestressed concrete
dp taken as distance from extreme compressive fiber to centroid of prestressing steel but need not be taken < 0.8h for shear design
d taken as distance from extreme compressive fiber to centroid of prestressing steel and nonprestressed steel (if any) but need not be taken < 0.8h for shear design

## Slide 62: Vc = lesser of Vci and Vcw
Mmax and Vi computed from load combination of factored superimposed dead and live load causing maximum factored moment at section

## Slide 63: Vc = lesser of Vci and Vcw
Vd = shear due to unfactored self weight of beam
yt = distance from centroid to tension face
fpe = compression at tension face due to Pe alone
fd = stress due to unfactored beam self weight at extreme fiber of section where tensile stress is cause by external load

## Slide 64
fpc = compressive stress at concrete centroid under Pe
Vp = vertical component of effective prestress force Pe

## Slide 65: Simplified design
11.3.4 and 11.3.5 address conditions near the ends of pretensioned beams

## Slide 66: Other provisions (not covered today)
Effect of axial loads

## Slide 67: Torsion
Tn  Tu

## Slide 68
Equilibrium torsion
Equilibrium torsion
Compatibility torsion

## Slide 69: Compatibility torsion
Edge beam:
Torsionally stiff Torsionally flexible

## Slide 70
Stresses caused
by torsion
 = 

## Slide 71: Thin-walled tube under torsion
Shear flow q, N/m

## Slide 72
q

## Slide 74: Torsion in reinforced concrete member
Torque vs. twist

## Slide 76
After cracking, area enclosed by shear path is defined by xo and yo measured to centerline of outermost closed transverse reinforcement
Aoh = xoyo
ph = 2(xo + yo)

## Slide 77
Torque supplied by side 4:

## Slide 80: Force in axial direction

## Slide 81: Longitudinal steel to resist torsion

## Slide 82: Torsion plus shear
Hollow section Solid section

## Slide 83: ACI provisions
 = 0.75
Tu  Tn
where Ao = 0.85Aoh
   = 30 to 60, 45 recommended
Notes: experimentally, full Aoh not effective
<number>

## Slide 84: Minimal torsion
Neglect torsional effects if Tu    ¼ cracking torque =

## Slide 85: Equilibrium vs. Compatibility Torsion
For members subjected to compatibility torsion, member is assumed to crack in torsion, reducing its rotational stiffness, and Tu may be reduced to   cracking torque =
Redistributed bending moments and resulting shears must be used to design adjoining members
Notes: Statically indeterminate
<number>

## Slide 86: Limitations on shear stress
Under combined shear and torsion, total shear stress v is limited to

## Slide 87: Limitations on shear stress
Hollow sections
Solid sections

## Slide 88: Reinforcement for Shear and Torsion
for single leg, fyt  420 MPa
Combined shear and torsion

## Slide 90: Minimum transverse reinforcement
s  ph/8, 300 mm
Spacing requirements for shear also apply
Maximum spacing of transverse reinforcement

## Slide 91: Longitudinal reinforcement for torsion
Use longitudinal bars at perimeter of section spaced at  300 mm, at every corner of stirrups, and no smaller than No. 10 bar. Must be anchored to develop fy at face of supports.

## Slide 92: Other provisions (not covered today)
Effect of axial loads
Some details of hollow sections

## Slide 93: Compression plus bending
Pn  Pu
Mn  Mu

## Slide 94
 = 0.75 for spiral columns
 = 0.65 for tied columns

## Slide 95: Theoretical maximum axial capacity
Ag = gross (total) area of concrete
Ast = total area of steel reinforcement

## Slide 96: Maximum axial loads permitted by ACI 318
Spirally reinforced columns
Tied columns

## Slide 97: Transverse reinforcement - ties
At least No. 10 for longitudinal bars up to No. 32 and at least No. 13 for No. 36, 43, and 57
Spacing s along the length of the column
 16  diameter of longitudinal bars
 48  diameter of tie bars
 least dimension of column

## Slide 98: Transverse reinforcement - ties
Every corner and alternate longitudinal bar shall have lateral support provided by the corner of a tie with an included angle 135 degrees and no bar shall be farther than 150 mm clear on each side along the tie from such a laterally supported bar

## Slide 99: Transverse reinforcement – ties

## Slide 100: Transverse reinforcement – spirals

## Slide 101: Transverse reinforcement – spirals
Volumetric reinforcing ratio
Ag = gross area of column
Ach = core area of column – measured to the outside diameter of the spiral
fyt = yield strength of spiral reinforcement  700 MPa

## Slide 102: Strain compatibility analysis and interaction diagrams
Eccentricity e

## Slide 103: Example

## Slide 104: Example

## Slide 105: Interaction diagrams

## Slide 106: Balanced failure

## Slide 107: Design aids and generalized interaction diagrams
e/h


## Slide 108: Applying  -factors and limits on maximum loads

## Slide 109: Other provisions (not covered today)
Slenderness

## Slide 110: Summary
Analysis and design for
Flexure
Shear
Torsion
Compression plus bending

## Slide 111: Tomorrow morning
Design of slender columns
Design of wall structures
High-strength concrete
Notes: <number>

## Slide 112
<number>
Notes: <number>

## Slide 113
Figures copyright  2010 by
McGraw-Hill Companies, Inc.
1221 Avenue of the America
New York, NY 10020 USA
Duplication authorized for use with this presentation only.

## Slide 114
The University of Kansas
David Darwin, Ph.D., P.E.
Deane E. Ackers Distinguished Professor
Director, Structural Engineering & Materials Laboratory
Dept. of Civil, Environmental & Architectural Engineering
2142 Learned Hall
Lawrence, Kansas, 66045-7609
(785) 864-3827 Fax: (785) 864-5631
daved@ku.edu
Notes: <number>